PRICE

Office of the Chief engineer LSGD

Community Leach pit  - Dia: 1.86 m , H: 2.05 m

Detailed Estimate

(Cost Index Applied for this estimate is 35.59%)

| Sl No | Description | No | L | B | D | CF | Quantity | Remark |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Community Leach pit |  |  |  |  |  |  |  |  |
| 1 | 2.6.1 Earth work in excavation by mechanical means (Hydraulic excavator)/manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including disposal of excavated earth, lead up to 50 m and lift up to 1.5 m, disposed earth to be levelled and neatly dressed. All kinds of soil |  |  |  |  |  |  |  |
|  | Leach pit (3.14 * r*r*h) | 3.14 | 0.93 | 0.93 | 2.055 |  | 5.581 |  |
|  | Silt Chamber (l*b*h) | 1 | 1.270 | 0.97 | 0.675 |  | 0.8315 |  |
|  | Total Quantity |  |  |  |  |  | 6.4126 cum |  |
|  | Total Deducted Quantity |  |  |  |  |  | 0.000 cum |  |
|  | Net Total Quantity |  |  |  |  |  | 6.4126 cum |  |
|  | Say 6.4126 cum @ Rs 214.03/ cum |  |  |  |  |  | Rs 1372.49 |  |
| 2 | 4.1.6 Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level:1:3:6 (1 cement : 3 coarse sand : 6 graded stone aggregate 40 nominal size) |  |  |  |  |  |  |  |
|  | Silt Chamber | 1 | 1.270 | 0.97 | 0.075 |  | 0.092 |  |
|  | Well (3.14( R*R - r*r)h) | 3.14 | (0.93x 0.93) - (0.5 x 0.5) |  | 0.15 |  | 0.615 |  |
|  | Total Quantity |  |  |  |  |  | 0.707 cum |  |
|  | Total Deducted Quantity |  |  |  |  |  | 0.000 cum |  |
|  | Net Total Quantity |  |  |  |  |  | 0.707 cum |  |
|  | Say 0.707 cum @ Rs 7211.15 / cum |  |  |  |  |  | Rs 5098.28 |  |
| 3 | 6.2.2 Brick work with common burnt clay modular bricks of class designation 7.5 in foundation and plinth in: Cement Mortar 1:6 (1 cement : 6 coarse sand) |  |  |  |  |  |  |  |
|  | Bottom portion (3.14( R*R - r*r)h) | 3.14 | (0.83x 0.83) - (0.6 x 0.6) |  | 1.13 |  | 1.167 |  |
|  | Slope portion 3.14 * h/2 [(R*R-r*r)+ R*R-r*r)] | 3.14 | [(0.83x 0.83) - (0.6 x 0.6) + (0.68 x 0.68) - (0.45 x 0.45)]/2 |  | 0.775 |  | 0.716 |  |
|  | Silt Chamber all aroound | 1 | 3.44 | 0.11 | 0.55 |  | 0.208 |  |

|  | Deduction |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Honey comb ( L.s 0.122 cum ) (-) | 0.117 |  |  |  |  | -0.117 |  |
|  | Total Quantity |  |  |  |  |  | 2.091 cum |  |
|  | Total Deducted Quantity |  |  |  |  |  | -0.117 cum |  |
|  | Net Total Quantity |  |  |  |  |  | 1.974 cum |  |
|  | Say 1.974 cum @ Rs 6241.61/ cum |  |  |  |  |  | Rs 12320.94 |  |
| 4 | 4.1.5 Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level:1:3:6 (1 cement : 3 coarse sand : 6 graded stone aggregate 20 nominal size) |  |  |  |  |  |  |  |
|  | Top belt | 3.14 | (0.68x 0.68) - (0.45 x 0.45) |  | 0.15 |  | 0.122 |  |
|  | Total Quantity |  |  |  |  |  | 0.122 cum |  |
|  | Total Deducted Quantity |  |  |  |  |  | 0.000 cum |  |
|  | Net Total Quantity |  |  |  |  |  | 0.122 cum |  |
|  | Say 0.122 cum @ Rs 7367.55 / cum |  |  |  |  |  | Rs 898.4 |  |
| 5 | 5.1.2 Providing and laying in position specified grade of reinforced cement concrete, excluding the cost of centering, shuttering, finishing and reinforcement - All work up to plinth level:1:1.5:3 ( 1 cement : 1.5 coarse sand : 3 graded stone aggregate 20 mm nominal size) |  |  |  |  |  |  |  |
|  | Cover slab | 1 | 3.140 | 0.50*0.50 | 0.10 |  | 0.0785 |  |
|  | Silt Chamber cover | 1 | 1.100 | 0.80 | 0.10 |  | 0.088 |  |
|  | Total Quantity |  |  |  |  |  | 0.1665 cum |  |
|  | Total Deducted Quantity |  |  |  |  |  | 0.000 cum |  |
|  | Net Total Quantity |  |  |  |  |  | 0.1665 cum |  |
|  | Say 0.1665 cum @ Rs 9085.14 / cum |  |  |  |  |  | Rs 1512.68 |  |

| 6 | 50.18.8.9.2 Providing and fixing PVC pipes, fittings including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes with one step PVC Solvent cement and testing of joints complete as per direction of Engineer-in-Charge. Concealed work, including cutting chases and making good the wall etc. 110 mm pipe 4 kgf/cm2 |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | 110 mm dia PVC pipe | 1 | 2.000 |  |  |  | 2.000 |  |
|  | Total Quantity |  |  |  |  |  | 2.000 m |  |
|  | Total Deducted Quantity |  |  |  |  |  | 0.000 m |  |
|  | Net Total Quantity |  |  |  |  |  | 2.000 m |  |
|  | Say 2.000 m @ Rs 672.91 / m |  |  |  |  |  | Rs 1345.82 |  |
| 7 | 50.18.9.22.6 Providing and fixing PVC moulded fittings/accessories for Rigid PVC pipes, including jointing with PVC solvent cement - 110x110x110 mm dia Door tee |  |  |  |  |  |  |  |
|  | PVC Tee | 3 |  |  |  |  | 3.000 |  |
|  | Total Quantity |  |  |  |  |  | 3.000 no |  |
|  | Total Deducted Quantity |  |  |  |  |  | 0.000 no |  |
|  | Net Total Quantity |  |  |  |  |  | 3.000 no |  |
|  | Say 3.000 no @ Rs 187.59 / no |  |  |  |  |  | Rs 562.77 |  |
| 8 | 13.1.1 12 mm cement plaster of mix: 1:4 ( 1 cement : 4 fine sand) |  |  |  |  |  |  |  |
|  | (2*3.14*r*h) | 2 x 3.14 | 0.6 |  | 1.13 |  | 4.26 |  |
|  | (2*3.14*r*h) | 2 x 3.14 | (0.6 + 0.45) / 2 |  | 0.775 |  | 2.55 |  |
|  | Silt Chamber all around | 1 | 3.44 |  | 0.68 |  | 2.34 |  |
|  | Silt Chamber Bottom | 1 | 0.90 | 0.60 |  |  | 0.54 |  |
|  | Silt Chamber Cover | 1 | 1.10 | 0.80 |  |  | 0.88 |  |
|  | Deduction |  |  |  |  |  |  |  |
|  | Honey comb ( L.S ) (-) | 1 | 1 | 1 |  |  | 1.00 |  |
|  | Total Quantity |  |  |  |  |  | 10.57 sqm |  |
|  | Total Deducted Quantity |  |  |  |  |  | 1 sqm |  |
|  | Net Total Quantity |  |  |  |  |  | 9.57 sqm |  |
|  | Say 9.57 sqm @ Rs 314.09/sqm |  |  |  |  |  | Rs 3005.84 |  |
| Amount reserved for GST payments Rs |  |  |  |  |  |  | 4701.18 |  |
| Sub Total Rs |  |  |  |  |  |  | 30818.84 |  |
| Lump Sum for round off |  |  |  |  |  |  | 81.16 |  |
| Rounded Total |  |  |  |  |  |  | 30,900.00 |  |
| Rupees Thirty Thousand and Nine Hundred Only |  |  |  |  |  |  |  |  |